PANEL

Autex Horizon - Square

Acoustic panels for sound absorption and interior finish

# 1. Product description

Specialists in sustainable polyester acoustic solutions. Safe to handle without gloves or masks - perfect for DIY installation. Made from recycled plastic bottles, it's the sustainable choice for modern buildings.

## Key features

100% polyester - safe to handle without protective equipment.

contains minimum 80% recycled PET plastic bottles.

non-allergenic, non-irritant formulation.

will not support mould or mildew growth.

maintains performance when wet - dries out naturally.

excellent thermal performance for roof/ceiling applications.

helps meet NCC energy efficiency requirements.

Made from recycled PET bottles.

# 2. Applications and selection

Internal Wall | Ceiling | General Acoustic

## Selection checklist

Confirm the application matches the family.

Confirm the target rating and construction build-up.

Confirm available depth against product dimensions.

Check NCC, fire, BAL or acoustic requirements with a qualified reviewer.

Record the suburb/postcode for climate-zone checks.

# 3. Current catalogue range

Range not yet extracted; confirm variants against the current manufacturer TDS.

# 4. Technical data

| Property | Value | Source |
| --- | --- | --- |
| Product type | Panel | Manufacturer catalogue |
| Material | Polyester | Manufacturer catalogue |
| Applications | Internal Wall ¦ Ceiling ¦ General Acoustic | Manufacturer catalogue |

# 5. Fire, testing and compliance context

NCC / project compliance: conditional - project-specific evidence required. Fire: not verified per SKU. BAL: not verified.

# 6. Installation overview

Use the current manufacturer instructions and the project specification. Handling, fixing and jointing details must be confirmed against the TDS for the selected SKU.

# 7. Safety, handling and SDS status

SDS: https://insulvac.com.au/wp-content/uploads/2020/04/autex-material-safety-data-sheet-msds.pdf. Confirm the current SDS before handling or cutting.

# 8. Sustainability and indoor environment

Sustainability and VOC statements are manufacturer-published claims and are not independently verified in this draft.

# 9. Warranty, returns and support

No product-specific warranty term is asserted in this draft. Refer to the manufacturer's general terms.

# 10. Specification starting point

Insulation shall be Autex Horizon - Square (panel) by Autex, selected to suit the confirmed application and required rating. Exact product, thickness and compliance to be confirmed by the project reviewer against the current manufacturer TDS before ordering.

# 11. Public document register

SRC-01 Manufacturer datasheet: https://www.autexacoustics.com.au/.

SRC-02 Safety data sheet: https://insulvac.com.au/wp-content/uploads/2020/04/autex-material-safety-data-sheet-msds.pdf.

# 12. Technical-review actions before publication

Confirm the exact product TDS deep link and re-validate all technical values.

Confirm SDS currency and handling guidance.

Approve environmental and warranty wording with the manufacturer.

Human review of NCC, fire, BAL and acoustic claims remains mandatory.

Draft generated 2026-09-05 from the internal knowledge base. Technical values and claims remain subject to manufacturer review before publication.