ROOF AND WALL BLANKET

Permastop Building Blanket

Roof and wall blanket insulation product

# 1. Product description

Permastop is a faced glasswool building blanket for suitable metal-roof and commercial/residential constructions. Fletcher positions it for thermal performance, condensation management and reduction of rain/noise effects, with low-, medium- and heavy-duty foil-facing options in the current range. Facing grade, blanket thickness, mesh/support and roof system must match the job.

## Key features

# 2. Applications and selection

metal roof

warehouse roof

shed roof

commercial roof

external wall

## Selection checklist

Confirm the application matches the family.

Confirm the target rating and construction build-up.

Confirm available depth against product dimensions.

Check NCC, fire, BAL or acoustic requirements with a qualified reviewer.

Record the suburb/postcode for climate-zone checks.

# 3. Current catalogue range

| SKU | Product | Published rating |
| --- | --- | --- |
| FL-4005619 | PERMASTOP HD R2.5 100MM 1200X10000 | R2.67, R2.5 |
| FL-4005622 | PERMASTOP MD R3.2 130MM 1200X10000 | R3.42, R3.2 |
| FL-4005626 | PERMASTOP MD R3.6 130MM 1200X6500 | R3.42, R3.6 |
| FL-4005631 | PERMASTOP MD R3.0 130MM 1200X10000 | R3.42, R3 |
| FL-4005712 | PERMASTOP MD R1.8 75MM 1200X15000 | R2.04, R1.8 |
| FL-4005719 | PERMASTOP MD R2.5 100MM 1200X10000 | R2.67, R2.5 |
| FL-4005793 | PERMASTOP MD R1.3 55MM 1200X15000 | R1.54, R1.3 |
| FL-4005821 | PERMASTOP LD R1.3 55MM 1200X20000 | R1.54, R1.3 |
| FL-4005878 | PERMASTOP LD R2.5 100MM 1200X10000 | R2.67, R2.5 |
| FL-4005939 | PERMASTOP LD R1.3 55MM 1200X15000 | R1.54, R1.3 |
| FL-4020472 | PERMASTOP LD R2.5 100MM 1200X10000 | R2.67, R2.5 |
| FL-4020480 | PERMASTOP LD R1.3 55MM 1200X15000 | R1.54, R1.3 |
| FL-4020481 | PERMASTOP LD R1.3 55MM 1200X20000 | R1.54, R1.3 |
| FL-4022003 | PERMASTOP LD R1.3 55MM 1200X20000 | R1.54, R1.3 |
| FL-4022007 | PERMASTOP LD R2.5 100MM 1200X10000 | R2.67, R2.5 |
| FL-4022059 | PERMASTOP LD R1.3 55MM 1200X15000 | R1.54, R1.3 |

# 4. Technical data

| Property | Value | Source |
| --- | --- | --- |
| Product type | Roof and wall blanket | Manufacturer catalogue |
| Material | Reflective Membrane | Manufacturer catalogue |
| Applications | metal roof; warehouse roof; shed roof; commercial roof; external wall | Manufacturer catalogue |

# 5. Fire, testing and compliance context

NCC / project compliance: conditional - project-specific evidence required. Fire: not verified per SKU. BAL: not verified.

# 6. Installation overview

Use the current manufacturer instructions and the project specification. Handling, fixing and jointing details must be confirmed against the TDS for the selected SKU.

# 7. Safety, handling and SDS status

SDS: to be sourced. Confirm the current SDS before handling or cutting.

# 8. Sustainability and indoor environment

Sustainability and VOC statements are manufacturer-published claims and are not independently verified in this draft.

# 9. Warranty, returns and support

No product-specific warranty term is asserted in this draft. Refer to the manufacturer's general terms.

# 10. Specification starting point

Insulation shall be Permastop Building Blanket (roof and wall blanket) by Fletcher, selected to suit the confirmed application and required rating. Exact product, thickness and compliance to be confirmed by the project reviewer against the current manufacturer TDS before ordering.

# 11. Public document register

SRC-01 Manufacturer datasheet: https://insulation.com.au/product/permastop-building-blanket/.

SRC-02 Safety data sheet: to be sourced.

# 12. Technical-review actions before publication

Confirm the exact product TDS deep link and re-validate all technical values.

Confirm SDS currency and handling guidance.

Approve environmental and warranty wording with the manufacturer.

Human review of NCC, fire, BAL and acoustic claims remains mandatory.

Draft generated 2026-09-05 from the internal knowledge base. Technical values and claims remain subject to manufacturer review before publication.