COMMERCIAL ACOUSTIC AND THERMAL

Pink Partition Insulation

Commercial acoustic and thermal insulation product

# 1. Product description

Pink Partition is Fletcher's glasswool family for thermal and acoustic contribution inside internal partition systems, particularly commercial/lightweight steel-stud construction. Fletcher documents non-combustibility, up to 80% recycled content, Australian manufacture and CodeMark CM30006 within scope. The current range contains multiple densities, thicknesses, widths and product codes; density/size must not be treated as an acoustic system rating.

## Key features

# 2. Applications and selection

commercial partition

steel stud wall

office wall

hospital wall

school wall

## Selection checklist

Confirm the application matches the family.

Confirm the target rating and construction build-up.

Confirm available depth against product dimensions.

Check NCC, fire, BAL or acoustic requirements with a qualified reviewer.

Record the suburb/postcode for climate-zone checks.

# 3. Current catalogue range

| SKU | Product | Published rating |
| --- | --- | --- |
| FI PP 1150450 | Pink Partition11kg*1200*450*50 | R1.42, R1.3 |
| FI PP 1150600 | Pink Partition11kg*1200*600*50 | R1.42, R1.3 |
| FL-4005954 | PINK PARTITION 14 R1.9 - 14kg 2700X600X75MM(12) | R2.04, R1.9 |
| FL-4008202 | PINK PARTITION 14 R1.3 2700X450X50MM(24) | R1.42, R1.3 |
| FL-4006010 | PINK PARTITION 11 R1.8 - 11kg 2700X600X75MM(16) | R2.04, R1.8 |
| FL-4006009 | PINK PARTITION 11 R1.8 11kg 1200X600X75MM(16) | R2.04, R1.8 |
| FL-4006011 | PINK PARTITION 11 R2.1 1200X450X90MM(16) | R2.42, R2.1 |
| FL-4006013 | PINK PARTITION 11 R2.1 11kg 1200X600X90MM(16) | R2.42, R2.1 |
| FL-4006015 | PINK PARTITION 11 R2.5 1200X600X110MM 16 | R2.92, R2.5 |
| FL-4005951 | PINK PARTITION 14 R1.9 14kg 1200X450X75MM(16) | R2.04, R1.9 |
| FL-4005953 | PINK PARTITION 14 R1.9 1200X600X75MM(16) | R2.04, R1.9 |
| FL-4005957 | PINK PARTITION 14 R2.2 1200X450X90MM(14) | R2.42, R2.2 |
| FL-4005959 | PINK PARTITION 14 R2.2 1200X600X90MM(14) | R2.42, R2.2 |
| FL-4006023 | PINK PARTITION 14 R1.3 1200X600X50MM(24) | R1.42, R1.3 |
| FL-4006025 | PINK PARTITION 24 R1.4 24kg 1200X600X50MM(12) | R1.42, R1.4 |
| FL-4006027 | PINK PARTITION 24 R2.1 1200X600X75MM(10) | R2.04, R2.1 |
| FL-4006029 | PINK PARTITION 24 R2.5 1200X600X90MM (8) | R2.42, R2.5 |
| FL-4006030 | PINK PARTITION 24 R2.8 1200X450X100MM(6) | R2.67, R2.8 |
| FL-4006031 | PINK PARTITION 24 R2.8 1200X600X100MM(6) | R2.67, R2.8 |
| FL-4005948 | PINK PARTITION 32 32kg 1200X450X90MM 8PK | R2.42, R2.3 |
| FL-4005949 | PINK PARTITION 32 1200X600X90MM 8PK | R2.42, R2.3 |
| FL-4005950 | PINK PARTITION 32 1200X600X100MM 6PK | R2.67, R2.5 |
| FL-4006033 | PINK PARTITION 32 1200X450X50MM 12PK | R1.42, R1.3 |
| FL-4006034 | PINK PARTITION 32 1200X600X50MM 12PK | R1.42, R1.3 |
| FL-4006036 | PINK PARTITION 32 1200X450X75MM 10PK | R2.04, R1.9 |

# 4. Technical data

| Property | Value | Source |
| --- | --- | --- |
| Product type | Commercial acoustic and thermal | Manufacturer catalogue |
| Material | Glasswool | Manufacturer catalogue |
| Applications | commercial partition; steel stud wall; office wall; hospital wall; school wall | Manufacturer catalogue |

# 5. Fire, testing and compliance context

NCC / project compliance: conditional - project-specific evidence required. Fire: not verified per SKU. BAL: not verified.

# 6. Installation overview

Use the current manufacturer instructions and the project specification. Handling, fixing and jointing details must be confirmed against the TDS for the selected SKU.

# 7. Safety, handling and SDS status

SDS: to be sourced. Confirm the current SDS before handling or cutting.

# 8. Sustainability and indoor environment

Sustainability and VOC statements are manufacturer-published claims and are not independently verified in this draft.

# 9. Warranty, returns and support

No product-specific warranty term is asserted in this draft. Refer to the manufacturer's general terms.

# 10. Specification starting point

Insulation shall be Pink Partition Insulation (commercial acoustic and thermal) by Fletcher, selected to suit the confirmed application and required rating. Exact product, thickness and compliance to be confirmed by the project reviewer against the current manufacturer TDS before ordering.

# 11. Public document register

SRC-01 Manufacturer datasheet: https://insulation.com.au/product/pink-partition-insulation/.

SRC-02 Safety data sheet: to be sourced.

# 12. Technical-review actions before publication

Confirm the exact product TDS deep link and re-validate all technical values.

Confirm SDS currency and handling guidance.

Approve environmental and warranty wording with the manufacturer.

Human review of NCC, fire, BAL and acoustic claims remains mandatory.

Draft generated 2026-09-05 from the internal knowledge base. Technical values and claims remain subject to manufacturer review before publication.