HVAC

FI24 Flexible Ductliner

Hvac insulation product

# 1. Product description

FI24 is Fletcher's flexible glasswool ductliner family for internal lining of sheet-metal ductwork, providing thermal resistance and sound absorption/attenuation within a correctly designed HVAC system. It is distinct from FI32 semi-rigid board/roll and from external duct wrap. The spreadsheet includes a “FI22 FLEX DLINER” line (including code 4005560) inside this grouping.

## Key features

# 2. Applications and selection

internal duct liner

sheet metal duct

HVAC duct

## Selection checklist

Confirm the application matches the family.

Confirm the target rating and construction build-up.

Confirm available depth against product dimensions.

Check NCC, fire, BAL or acoustic requirements with a qualified reviewer.

Record the suburb/postcode for climate-zone checks.

# 3. Current catalogue range

| SKU | Product | Published rating |
| --- | --- | --- |
| FL-4005560 | FI22 FLEX DLINER 20000X1500X25 Flexible wrap - 22kg HDP ROL | R0.80, R0.6 |

# 4. Technical data

| Property | Value | Source |
| --- | --- | --- |
| Product type | HVAC | Manufacturer catalogue |
| Material | Glasswool | Manufacturer catalogue |
| Applications | internal duct liner; sheet metal duct; HVAC duct | Manufacturer catalogue |

# 5. Fire, testing and compliance context

Fire: not verified per SKU. No fire, NCC or BAL classification is asserted in this draft.

NCC / project compliance: conditional - project-specific evidence required. BAL: not verified.

# 6. Installation overview

Use the current manufacturer instructions and the project specification. Handling, fixing and jointing details must be confirmed against the TDS for the selected SKU.

# 7. Safety, handling and SDS status

SDS: to be sourced. Confirm the current SDS before handling or cutting.

# 8. Sustainability and indoor environment

Sustainability and VOC statements are manufacturer-published claims and are not independently verified in this draft.

# 9. Warranty, returns and support

No product-specific warranty term is asserted in this draft. Refer to the manufacturer's general terms.

# 10. Specification starting point

Insulation shall be FI24 Flexible Ductliner (hvac) by Fletcher, selected to suit the confirmed application and required rating. Exact product, thickness and compliance to be confirmed by the project reviewer against the current manufacturer TDS before ordering.

# 11. Public document register

SRC-01 Manufacturer datasheet: https://insulation.com.au/product/fi24-flexible-ductliner/.

SRC-02 Safety data sheet: to be sourced.

# 12. Technical-review actions before publication

Confirm the exact product TDS deep link and re-validate all technical values.

Confirm SDS currency and handling guidance.

Approve environmental and warranty wording with the manufacturer.

Human review of NCC, fire, BAL and acoustic claims remains mandatory.

Draft generated 2026-09-05 from the internal knowledge base. Technical values and claims remain subject to manufacturer review before publication.