PLIABLE BUILDING MEMBRANE

Sisalation Vapawrap Residential Wall Wrap

Pliable building membrane insulation product

# 1. Product description

Vapawrap Residential Wall Wrap is a vapour-permeable wall membrane used behind suitable external claddings as a water barrier and part of the air/moisture-control strategy. Fletcher describes a Class 4 vapour-permeable product with current variants differentiated in part by allowable UV exposure before cladding (including 30- and 90-day contexts). Confirm the exact variant and TDS.

## Key features

# 2. Applications and selection

external wall wrap

brick veneer

lightweight cladding

vapour permeable membrane

## Selection checklist

Confirm the application matches the family.

Confirm the target rating and construction build-up.

Confirm available depth against product dimensions.

Check NCC, fire, BAL or acoustic requirements with a qualified reviewer.

Record the suburb/postcode for climate-zone checks.

# 3. Current catalogue range

| SKU | Product | Published rating |
| --- | --- | --- |
| FL-4006867 | VAPAWRAP RESWALL 1.35X30M Vapour Permeable Water Barrier | R1.5 |
| FL-4006878 | VAPAWRAP RESI WALL 1.5X30M | R1.5 |
| FL-4021549 | VAPAWRAP 4-90 1.35X30M FLETCHER | Not stated |
| FL-4021550 | VAPAWRAP 4-90 1.5X30M FLETCHER | Not stated |

# 4. Technical data

| Property | Value | Source |
| --- | --- | --- |
| Product type | Pliable building membrane | Manufacturer catalogue |
| Material | Reflective Membrane | Manufacturer catalogue |
| Applications | external wall wrap; brick veneer; lightweight cladding; vapour permeable membrane | Manufacturer catalogue |

# 5. Fire, testing and compliance context

Fire: not verified per SKU. No fire, NCC or BAL classification is asserted in this draft.

NCC / project compliance: conditional - project-specific evidence required. BAL: not verified.

# 6. Installation overview

Use the current manufacturer instructions and the project specification. Handling, fixing and jointing details must be confirmed against the TDS for the selected SKU.

# 7. Safety, handling and SDS status

SDS: to be sourced. Confirm the current SDS before handling or cutting.

# 8. Sustainability and indoor environment

Sustainability and VOC statements are manufacturer-published claims and are not independently verified in this draft.

# 9. Warranty, returns and support

No product-specific warranty term is asserted in this draft. Refer to the manufacturer's general terms.

# 10. Specification starting point

Insulation shall be Sisalation Vapawrap Residential Wall Wrap (pliable building membrane) by Fletcher, selected to suit the confirmed application and required rating. Exact product, thickness and compliance to be confirmed by the project reviewer against the current manufacturer TDS before ordering.

# 11. Public document register

SRC-01 Manufacturer datasheet: https://insulation.com.au/product/sisalation-vapawrap-residential-wall-wrap/.

SRC-02 Safety data sheet: to be sourced.

# 12. Technical-review actions before publication

Confirm the exact product TDS deep link and re-validate all technical values.

Confirm SDS currency and handling guidance.

Approve environmental and warranty wording with the manufacturer.

Human review of NCC, fire, BAL and acoustic claims remains mandatory.

Draft generated 2026-09-05 from the internal knowledge base. Technical values and claims remain subject to manufacturer review before publication.