PIPE

4-Zero Fire Retardant Pipe Insulation

Pre-formed pipe insulation for thermal efficiency and condensation control

# 1. Product description

4-Zero Fire Retardant Pipe Insulation is a pipe product family from Thermotec.

## Key features

# 2. Applications and selection

HVAC pipe

refrigeration pipe

hot water pipe

commercial services

## Selection checklist

Confirm the application matches the family.

Confirm the target rating and construction build-up.

Confirm available depth against product dimensions.

Check NCC, fire, BAL or acoustic requirements with a qualified reviewer.

Record the suburb/postcode for climate-zone checks.

# 3. Current catalogue range

| SKU | Product | Published rating |
| --- | --- | --- |
| 4 Zero ZG13 | 4 Zero ZG13 | R1.2, R2.5 |
| 4 Zero ZG20 | 4 Zero ZG20 | R1.2, R2.5 |
| 4 Zero ZG25 | 4 Zero ZG25 | R1.2, R2.5 |
| 4 Zero ZG32 | 4 Zero ZG32 | R1.2, R2.5 |
| 4 Zero ZG39 | 4 Zero ZG39 | R1.2, R2.5 |
| 4 Zero ZG51 | 4 Zero ZG51 | R1.2, R2.5 |
| 4 Zero ZG65 | 4 Zero ZG65 | R1.2, R2.5 |
| 4 Zero ZG76 | 4 Zero ZG76 | R1.2, R2.5 |
| 4 Zero ZG89 | 4 Zero ZG89 | R1.2, R2.5 |
| 4 Zero ZG102 | 4 Zero ZG102 | R1.2, R2.5 |
| 4 Zero ZL13 | 4 Zero ZL13 | R1.2, R2.5 |
| 4 Zero ZL20 | 4 Zero ZL20 | R1.2, R2.5 |
| 4 Zero ZL25 | 4 Zero ZL25 | R1.2, R2.5 |
| 4 Zero ZL32 | 4 Zero ZL32 | R1.2, R2.5 |
| 4 Zero ZL39 | 4 Zero ZL39 | R1.2, R2.5 |
| 4 Zero ZL51 | 4 Zero ZL51 | R1.2, R2.5 |
| 4 Zero ZL65 | 4 Zero ZL65 | R1.2, R2.5 |
| 4 Zero ZL76 | 4 Zero ZL76 | R1.2, R2.5 |
| 4 Zero ZL89 | 4 Zero ZL89 | R1.2, R2.5 |
| 4 Zero ZL102 | 4 Zero ZL102 | R1.2, R2.5 |
| 4 Zero ZLL13 | 4 Zero ZLL13 | R1.2, R2.5 |
| 4 Zero ZLL20 | 4 Zero ZLL20 | R1.2, R2.5 |
| 4 Zero ZLL25 | 4 Zero ZLL25 | R1.2, R2.5 |
| 4 Zero ZLL32 | 4 Zero ZLL32 | R1.2, R2.5 |
| 4 Zero ZLL39 | 4 Zero ZLL39 | R1.2, R2.5 |

# 4. Technical data

| Property | Value | Source |
| --- | --- | --- |
| Product type | Pipe | Manufacturer catalogue |
| Material | Closed-cell pipe insulation with reinforced aluminium covering | Manufacturer catalogue |
| Applications | HVAC pipe; refrigeration pipe; hot water pipe; commercial services | Manufacturer catalogue |

# 5. Fire, testing and compliance context

NCC / project compliance: conditional - project-specific evidence required. Fire: not verified per SKU. BAL: not verified.

# 6. Installation overview

Use the current manufacturer instructions and the project specification. Handling, fixing and jointing details must be confirmed against the TDS for the selected SKU.

# 7. Safety, handling and SDS status

SDS: to be sourced. Confirm the current SDS before handling or cutting.

# 8. Sustainability and indoor environment

Sustainability and VOC statements are manufacturer-published claims and are not independently verified in this draft.

# 9. Warranty, returns and support

No product-specific warranty term is asserted in this draft. Refer to the manufacturer's general terms.

# 10. Specification starting point

Insulation shall be 4-Zero Fire Retardant Pipe Insulation (pipe) by Thermotec, selected to suit the confirmed application and required rating. Exact product, thickness and compliance to be confirmed by the project reviewer against the current manufacturer TDS before ordering.

# 11. Public document register

SRC-01 Manufacturer datasheet: https://thermotec.com.au/products/thermotec-4-zero.

SRC-02 Safety data sheet: to be sourced.

# 12. Technical-review actions before publication

Confirm the exact product TDS deep link and re-validate all technical values.

Confirm SDS currency and handling guidance.

Approve environmental and warranty wording with the manufacturer.

Human review of NCC, fire, BAL and acoustic claims remains mandatory.

Draft generated 2026-09-05 from the internal knowledge base. Technical values and claims remain subject to manufacturer review before publication.