PIPE

E-Flex ST Pipe Insulation

Pre-formed pipe insulation for thermal efficiency and condensation control

# 1. Product description

E-Flex ST Pipe Insulation is a pipe product family from Thermotec.

## Key features

# 2. Applications and selection

HVAC

refrigeration

general plumbing

hot water

indoor pipe

## Selection checklist

Confirm the application matches the family.

Confirm the target rating and construction build-up.

Confirm available depth against product dimensions.

Check NCC, fire, BAL or acoustic requirements with a qualified reviewer.

Record the suburb/postcode for climate-zone checks.

# 3. Current catalogue range

| SKU | Product | Published rating |
| --- | --- | --- |
| E-flex ST 9mm Wall * 6mm | E-flex ST 9mm Wall * 6mm | R1.2, R2.5 |
| E-flex ST 13mm Wall * 6mm | E-flex ST 13mm Wall * 6mm | R1.2, R2.5 |
| E-flex ST 19mm Wall * 6mm | E-flex ST 19mm Wall * 6mm | R1.2, R2.5 |
| E-flex ST 25mm Wall * 6mm | E-flex ST 25mm Wall * 6mm | R1.2, R2.5 |
| E-flex ST 9mm Wall * 9mm | E-flex ST 9mm Wall * 9mm | R1.2, R2.5 |
| E-flex ST 13mm Wall * 9mm | E-flex ST 13mm Wall * 9mm | R1.2, R2.5 |
| E-flex ST 19mm Wall * 9mm | E-flex ST 19mm Wall * 9mm | R1.2, R2.5 |
| E-flex ST 25mm Wall * 9mm | E-flex ST 25mm Wall * 9mm | R1.2, R2.5 |
| E-flex ST 9mm Wall * 13mm | E-flex ST 9mm Wall * 13mm | R1.2, R2.5 |
| E-flex ST 13mm Wall * 13mm | E-flex ST 13mm Wall * 13mm | R1.2, R2.5 |
| E-flex ST 19mm Wall * 13mm | E-flex ST 19mm Wall * 13mm | R1.2, R2.5 |
| E-flex ST 25mm Wall * 13mm | E-flex ST 25mm Wall * 13mm | R1.2, R2.5 |
| E-flex ST 9mm Wall * 16mm | E-flex ST 9mm Wall * 16mm | R1.2, R2.5 |
| E-flex ST 13mm Wall * 16mm | E-flex ST 13mm Wall * 16mm | R1.2, R2.5 |
| E-flex ST 19mm Wall * 16mm | E-flex ST 19mm Wall * 16mm | R1.2, R2.5 |
| E-flex ST 25mm Wall * 16mm | E-flex ST 25mm Wall * 16mm | R1.2, R2.5 |
| E-flex ST 9mm Wall * 19mm | E-flex ST 9mm Wall * 19mm | R1.2, R2.5 |
| E-flex ST 13mm Wall * 19mm | E-flex ST 13mm Wall * 19mm | R1.2, R2.5 |
| E-flex ST 19mm Wall * 19mm | E-flex ST 19mm Wall * 19mm | R1.2, R2.5 |
| E-flex ST 25mm Wall * 19mm | E-flex ST 25mm Wall * 19mm | R1.2, R2.5 |
| E-flex ST 38mm Wall * 19mm | E-flex ST 38mm Wall * 19mm | R1.2, R2.5 |
| E-flex ST 9mm Wall * 22mm | E-flex ST 9mm Wall * 22mm | R1.2, R2.5 |
| E-flex ST 13mm Wall * 22mm | E-flex ST 13mm Wall * 22mm | R1.2, R2.5 |
| E-flex ST 19mm Wall * 22mm | E-flex ST 19mm Wall * 22mm | R1.2, R2.5 |
| E-flex ST 25mm Wall * 22mm | E-flex ST 25mm Wall * 22mm | R1.2, R2.5 |

# 4. Technical data

| Property | Value | Source |
| --- | --- | --- |
| Product type | Pipe | Manufacturer catalogue |
| Material | Elastomeric closed-cell foam | Manufacturer catalogue |
| Applications | HVAC; refrigeration; general plumbing; hot water; indoor pipe | Manufacturer catalogue |

# 5. Fire, testing and compliance context

NCC / project compliance: conditional - project-specific evidence required. Fire: not verified per SKU. BAL: not verified.

# 6. Installation overview

Use the current manufacturer instructions and the project specification. Handling, fixing and jointing details must be confirmed against the TDS for the selected SKU.

# 7. Safety, handling and SDS status

SDS: to be sourced. Confirm the current SDS before handling or cutting.

# 8. Sustainability and indoor environment

Sustainability and VOC statements are manufacturer-published claims and are not independently verified in this draft.

# 9. Warranty, returns and support

No product-specific warranty term is asserted in this draft. Refer to the manufacturer's general terms.

# 10. Specification starting point

Insulation shall be E-Flex ST Pipe Insulation (pipe) by Thermotec, selected to suit the confirmed application and required rating. Exact product, thickness and compliance to be confirmed by the project reviewer against the current manufacturer TDS before ordering.

# 11. Public document register

SRC-01 Manufacturer datasheet: https://thermotec.com.au/products/thermotec-e-flex-st-hot-water-hvac-refrigeration-pipe-insulation.

SRC-02 Safety data sheet: to be sourced.

# 12. Technical-review actions before publication

Confirm the exact product TDS deep link and re-validate all technical values.

Confirm SDS currency and handling guidance.

Approve environmental and warranty wording with the manufacturer.

Human review of NCC, fire, BAL and acoustic claims remains mandatory.

Draft generated 2026-09-05 from the internal knowledge base. Technical values and claims remain subject to manufacturer review before publication.