BULK

Pink Batts Floor Insulation

Bulk insulation product

# 1. Product description

FBS-1 glasswool batts intended for suitable suspended-floor systems to reduce heat flow and improve thermal comfort. They are bulk insulation between/under floor framing, not a resilient acoustic underlay. The complete installation needs retention, wind protection where applicable, moisture management and safe service clearances.

## Key features

# 2. Applications and selection

suspended floor

timber floor

underfloor

floor insulation

## Selection checklist

Confirm the application matches the family.

Confirm the target rating and construction build-up.

Confirm available depth against product dimensions.

Check NCC, fire, BAL or acoustic requirements with a qualified reviewer.

Record the suburb/postcode for climate-zone checks.

# 3. Current catalogue range

| SKU | Product | Published rating |
| --- | --- | --- |
| pbattflr | Pink Floor Batts 1160*430mm | R2.2, R2.5 |

# 4. Technical data

| Property | Value | Source |
| --- | --- | --- |
| Product type | Bulk | Manufacturer catalogue |
| Material | Glasswool | Manufacturer catalogue |
| Applications | suspended floor; timber floor; underfloor; floor insulation | Manufacturer catalogue |

# 5. Fire, testing and compliance context

NCC / project compliance: conditional - project-specific evidence required. Fire: not verified per SKU. BAL: not verified.

# 6. Installation overview

Use the current manufacturer instructions and the project specification. Handling, fixing and jointing details must be confirmed against the TDS for the selected SKU.

# 7. Safety, handling and SDS status

SDS: to be sourced. Confirm the current SDS before handling or cutting.

# 8. Sustainability and indoor environment

Sustainability and VOC statements are manufacturer-published claims and are not independently verified in this draft.

# 9. Warranty, returns and support

No product-specific warranty term is asserted in this draft. Refer to the manufacturer's general terms.

# 10. Specification starting point

Insulation shall be Pink Batts Floor Insulation (bulk) by Fletcher, selected to suit the confirmed application and required rating. Exact product, thickness and compliance to be confirmed by the project reviewer against the current manufacturer TDS before ordering.

# 11. Public document register

SRC-01 Manufacturer datasheet: https://insulation.com.au/products/.

SRC-02 Safety data sheet: to be sourced.

# 12. Technical-review actions before publication

Confirm the exact product TDS deep link and re-validate all technical values.

Confirm SDS currency and handling guidance.

Approve environmental and warranty wording with the manufacturer.

Human review of NCC, fire, BAL and acoustic claims remains mandatory.

Draft generated 2026-09-05 from the internal knowledge base. Technical values and claims remain subject to manufacturer review before publication.