ACOUSTIC BULK

Soundbreak Acoustic Insulation

Acoustic bulk insulation product

# 1. Product description

Fletcher Soundbreak is a range of high-density, flexible and resilient glasswool batts designed to provide acoustic absorption within framed residential walls, ceilings and midfloors. The batts also provide documented material thermal resistance. Soundbreak works primarily as porous absorptive insulation within a cavity.

## Key features

# 2. Applications and selection

internal wall

external wall

ceiling

floor

media room

bedroom

## Selection checklist

Confirm the application matches the family.

Confirm the target rating and construction build-up.

Confirm available depth against product dimensions.

Check NCC, fire, BAL or acoustic requirements with a qualified reviewer.

Record the suburb/postcode for climate-zone checks.

# 3. Current catalogue range

| SKU | Product | Published rating |
| --- | --- | --- |
| FI SB 17430 SB | PinksSoundB R1.7 SB 1160*430 | R1.87, R1.7 |
| FI SB 17580 SB | PinksSoundB R1.7 SB 1160*580 | R1.87, R1.7 |
| FI SB 20430 SB | PinksSoundB R2.0 SB 1160*430 | R2.17, R2.0 |
| FI SB 20580 SB | PinksSoundB R2.0 SB 1160*580 | R2.17, R2.0 |
| FI SB 27430 SB | PinksSoundB R2.7 SB 1160*430 | R2.87, R2.7 |
| FI SB 27580 SB | PinksSoundB R2.7 SB 1160*580 | R2.87, R2.7 |
| FI SB 31430 SB | PinksSoundB R3.1 SB 1160*430 | R3.27, R3.1 |
| FI SB 31580 SB | PinksSoundB R3.1 SB 1160*580 | R3.27, R3.1 |
| FL-4006068 | PINK SOUNDBREAK R2.7 1200X600X90 8PK | R2.42, R2.7 |
| FL-4010568 | SOUNDBREAK R2.5 1160X430X90 8PK | R2.42, R2.5 |
| FL-4010569 | SOUNDBREAK R2.5 1160X580X90 8PK | R2.42, R2.5 |
| FL-4010572 | SOUNDBREAK R2.7 1200X600X90 8PK | R2.42, R2.7 |

# 4. Technical data

| Property | Value | Source |
| --- | --- | --- |
| Product type | Acoustic bulk | Manufacturer catalogue |
| Material | High-density FBS-1 bio-soluble glasswool batt | Manufacturer catalogue |
| Applications | internal wall; external wall; ceiling; floor; media room; bedroom | Manufacturer catalogue |

# 5. Fire, testing and compliance context

NCC / project compliance: conditional - project-specific evidence required. Fire: not verified per SKU. BAL: not verified.

# 6. Installation overview

Use the current manufacturer instructions and the project specification. Handling, fixing and jointing details must be confirmed against the TDS for the selected SKU.

# 7. Safety, handling and SDS status

SDS: to be sourced. Confirm the current SDS before handling or cutting.

# 8. Sustainability and indoor environment

Sustainability and VOC statements are manufacturer-published claims and are not independently verified in this draft.

# 9. Warranty, returns and support

No product-specific warranty term is asserted in this draft. Refer to the manufacturer's general terms.

# 10. Specification starting point

Insulation shall be Soundbreak Acoustic Insulation (acoustic bulk) by Fletcher, selected to suit the confirmed application and required rating. Exact product, thickness and compliance to be confirmed by the project reviewer against the current manufacturer TDS before ordering.

# 11. Public document register

SRC-01 Manufacturer datasheet: https://insulation.com.au/product/soundbreak/.

SRC-02 Safety data sheet: to be sourced.

# 12. Technical-review actions before publication

Confirm the exact product TDS deep link and re-validate all technical values.

Confirm SDS currency and handling guidance.

Approve environmental and warranty wording with the manufacturer.

Human review of NCC, fire, BAL and acoustic claims remains mandatory.

Draft generated 2026-09-05 from the internal knowledge base. Technical values and claims remain subject to manufacturer review before publication.