REFLECTIVE

Rockwool Reflective

Reflective foil insulation for radiant heat control

# 1. Product description

Quality insulation engineered for Australian conditions. Made from natural volcanic rock, delivering superior fire resistance and acoustic performance that lasts the lifetime of the building. Maintains system efficiency and prevents condensation issues.

## Key features

Non-combustible stonewool made from natural volcanic rock.

superior fire resistance up to 1000°C.

excellent acoustic absorption properties.

fully recyclable at end of life.

prevents condensation on cold services.

maintains system efficiency.

# 2. Applications and selection

Pipe

## Selection checklist

Confirm the application matches the family.

Confirm the target rating and construction build-up.

Confirm available depth against product dimensions.

Check NCC, fire, BAL or acoustic requirements with a qualified reviewer.

Record the suburb/postcode for climate-zone checks.

# 3. Current catalogue range

Range not yet extracted; confirm variants against the current manufacturer TDS.

# 4. Technical data

| Property | Value | Source |
| --- | --- | --- |
| Product type | Reflective | Manufacturer catalogue |
| Material | Stonewool / Foil Composite | Manufacturer catalogue |
| Applications | Pipe | Manufacturer catalogue |

# 5. Fire, testing and compliance context

NCC / project compliance: conditional - project-specific evidence required. Fire: not verified per SKU. BAL: not verified.

# 6. Installation overview

Use the current manufacturer instructions and the project specification. Handling, fixing and jointing details must be confirmed against the TDS for the selected SKU.

# 7. Safety, handling and SDS status

SDS: https://www.ais-group.com.au/wp-content/uploads/2023/04/AIS_Rockwool_SDS_1823-1-V2.pdf. Confirm the current SDS before handling or cutting.

# 8. Sustainability and indoor environment

Sustainability and VOC statements are manufacturer-published claims and are not independently verified in this draft.

# 9. Warranty, returns and support

No product-specific warranty term is asserted in this draft. Refer to the manufacturer's general terms.

# 10. Specification starting point

Insulation shall be Rockwool Reflective (reflective) by Rockwool, selected to suit the confirmed application and required rating. Exact product, thickness and compliance to be confirmed by the project reviewer against the current manufacturer TDS before ordering.

# 11. Public document register

SRC-01 Manufacturer datasheet: https://www.rockwool.com/syssiteassets/rw-sa/technical-resources/thermalrock-s---technical-datasheet-au---2023.pdf.

SRC-02 Safety data sheet: https://www.ais-group.com.au/wp-content/uploads/2023/04/AIS_Rockwool_SDS_1823-1-V2.pdf.

# 12. Technical-review actions before publication

Confirm the exact product TDS deep link and re-validate all technical values.

Confirm SDS currency and handling guidance.

Approve environmental and warranty wording with the manufacturer.

Human review of NCC, fire, BAL and acoustic claims remains mandatory.

Draft generated 2026-09-05 from the internal knowledge base. Technical values and claims remain subject to manufacturer review before publication.