REFLECTIVE COMPOSITE

Sisalation Foam Cell and Bubble Cell

Reflective composite insulation product

# 1. Product description

This dataset family groups related but distinct Fletcher reflective products: Foam Cell Multipurpose, Foam Cell Multipurpose LT and Bubble Cell. Foam Cell uses a closed-cell foam core; Bubble Cell uses an air-cell/bubble construction. Facing, duty, thickness and intended assembly differ, so they are not interchangeable.

## Key features

# 2. Applications and selection

steel frame thermal break

shed roof

external wall

roof

vapour barrier

## Selection checklist

Confirm the application matches the family.

Confirm the target rating and construction build-up.

Confirm available depth against product dimensions.

Check NCC, fire, BAL or acoustic requirements with a qualified reviewer.

Record the suburb/postcode for climate-zone checks.

# 3. Current catalogue range

| SKU | Product | Published rating |
| --- | --- | --- |
| FL-4006740 | SISAL BUBBLE CELL 100 Non Vapour 1350MMX22.25M 30M2 Permeable Water | R33.92, R33.8 |
| FL-4006742 | SISALATION FOAM CELL Multipurpose - MULTIPURP R0.2 30M2 Thermal Non Vapour | R0.2 |
| FL-4006747 | SISALATION FOAM CELL Permeable Water MULTIPURP LT 30M2 | Not stated |

# 4. Technical data

| Property | Value | Source |
| --- | --- | --- |
| Product type | Reflective composite | Manufacturer catalogue |
| Material | Reflective Membrane | Manufacturer catalogue |
| Applications | steel frame thermal break; shed roof; external wall; roof; vapour barrier | Manufacturer catalogue |

# 5. Fire, testing and compliance context

Fire: not verified per SKU. No fire, NCC or BAL classification is asserted in this draft.

NCC / project compliance: conditional - project-specific evidence required. BAL: not verified.

# 6. Installation overview

Use the current manufacturer instructions and the project specification. Handling, fixing and jointing details must be confirmed against the TDS for the selected SKU.

# 7. Safety, handling and SDS status

SDS: to be sourced. Confirm the current SDS before handling or cutting.

# 8. Sustainability and indoor environment

Sustainability and VOC statements are manufacturer-published claims and are not independently verified in this draft.

# 9. Warranty, returns and support

No product-specific warranty term is asserted in this draft. Refer to the manufacturer's general terms.

# 10. Specification starting point

Insulation shall be Sisalation Foam Cell and Bubble Cell (reflective composite) by Fletcher, selected to suit the confirmed application and required rating. Exact product, thickness and compliance to be confirmed by the project reviewer against the current manufacturer TDS before ordering.

# 11. Public document register

SRC-01 Manufacturer datasheet: https://insulation.com.au/product/foam-cell-mutlipurpose/.

SRC-02 Safety data sheet: to be sourced.

# 12. Technical-review actions before publication

Confirm the exact product TDS deep link and re-validate all technical values.

Confirm SDS currency and handling guidance.

Approve environmental and warranty wording with the manufacturer.

Human review of NCC, fire, BAL and acoustic claims remains mandatory.

Draft generated 2026-09-05 from the internal knowledge base. Technical values and claims remain subject to manufacturer review before publication.