REFLECTIVE MEMBRANE

Sisalation Tuff Wrap and Multipurpose Sarking

Reflective membrane insulation product

# 1. Product description

This catalogue family contains several distinct membranes, including products such as Tuff Wrap and Multipurpose. They differ in duty, permeability, water-barrier role, reflective facing, application and exposure. “Sisalation” is a brand/range label, not enough information for product selection.

## Key features

# 2. Applications and selection

wall wrap

roof sarking

brick veneer

tile roof

metal roof

## Selection checklist

Confirm the application matches the family.

Confirm the target rating and construction build-up.

Confirm available depth against product dimensions.

Check NCC, fire, BAL or acoustic requirements with a qualified reviewer.

Record the suburb/postcode for climate-zone checks.

# 3. Current catalogue range

| SKU | Product | Published rating |
| --- | --- | --- |
| FL-4005520 | MULTIPURPOSE 439 LIGHT DUTY Non Vapour 1350MMX60M Permeable Water Barrier | R33.92, R33.8 |
| FL-4006914 | TUFF WRAP BR 497 1.35X60M Vapour Permeable Non Water Barrier | Not stated |
| FL-4006915 | TUFF WRAP 497 1.35X30M | Not stated |
| FL-4006916 | TUFF WRAP BR 497 1.35X30M | Not stated |
| FL-4006917 | TUFF WRAP 497 1.35X60M | Not stated |

# 4. Technical data

| Property | Value | Source |
| --- | --- | --- |
| Product type | Reflective membrane | Manufacturer catalogue |
| Material | Reflective Membrane | Manufacturer catalogue |
| Applications | wall wrap; roof sarking; brick veneer; tile roof; metal roof | Manufacturer catalogue |

# 5. Fire, testing and compliance context

Fire: not verified per SKU. No fire, NCC or BAL classification is asserted in this draft.

NCC / project compliance: conditional - project-specific evidence required. BAL: not verified.

# 6. Installation overview

Use the current manufacturer instructions and the project specification. Handling, fixing and jointing details must be confirmed against the TDS for the selected SKU.

# 7. Safety, handling and SDS status

SDS: to be sourced. Confirm the current SDS before handling or cutting.

# 8. Sustainability and indoor environment

Sustainability and VOC statements are manufacturer-published claims and are not independently verified in this draft.

# 9. Warranty, returns and support

No product-specific warranty term is asserted in this draft. Refer to the manufacturer's general terms.

# 10. Specification starting point

Insulation shall be Sisalation Tuff Wrap and Multipurpose Sarking (reflective membrane) by Fletcher, selected to suit the confirmed application and required rating. Exact product, thickness and compliance to be confirmed by the project reviewer against the current manufacturer TDS before ordering.

# 11. Public document register

SRC-01 Manufacturer datasheet: https://insulation.com.au/product/sisalation-tuff-wrap/.

SRC-02 Safety data sheet: to be sourced.

# 12. Technical-review actions before publication

Confirm the exact product TDS deep link and re-validate all technical values.

Confirm SDS currency and handling guidance.

Approve environmental and warranty wording with the manufacturer.

Human review of NCC, fire, BAL and acoustic claims remains mandatory.

Draft generated 2026-09-05 from the internal knowledge base. Technical values and claims remain subject to manufacturer review before publication.