EXTERNAL WALL BOARD

supaBATT External Wall Barrier

External wall board insulation product

# 1. Product description

SupaBATT is Fletcher's glasswool batt family for thermal and acoustic contribution in suitable building cavities. Treat each wall/ceiling/application and R-value as a distinct SKU even when the brand is shared. Manufacturer-supported claims such as recycled content, fire performance, warranty or certification must be checked against the current product page/TDS scope.

## Key features

# 2. Applications and selection

external wall

brick veneer

continuous wall insulation

vapour permeable wall

## Selection checklist

Confirm the application matches the family.

Confirm the target rating and construction build-up.

Confirm available depth against product dimensions.

Check NCC, fire, BAL or acoustic requirements with a qualified reviewer.

Record the suburb/postcode for climate-zone checks.

# 3. Current catalogue range

| SKU | Product | Published rating |
| --- | --- | --- |
| FL-4020908 | SUPABATT 2400X1200X15 (20) PK GROUP PRICE | R0.55, R0.4 |
| FL-4020912 | SUPABATT VP4 2400X1200X15 (20) PK | R0.55, R0.4 |

# 4. Technical data

| Property | Value | Source |
| --- | --- | --- |
| Product type | External wall board | Manufacturer catalogue |
| Material | Glasswool | Manufacturer catalogue |
| Applications | external wall; brick veneer; continuous wall insulation; vapour permeable wall | Manufacturer catalogue |

# 5. Fire, testing and compliance context

Fire: not verified per SKU. No fire, NCC or BAL classification is asserted in this draft.

NCC / project compliance: conditional - project-specific evidence required. BAL: not verified.

# 6. Installation overview

Use the current manufacturer instructions and the project specification. Handling, fixing and jointing details must be confirmed against the TDS for the selected SKU.

# 7. Safety, handling and SDS status

SDS: to be sourced. Confirm the current SDS before handling or cutting.

# 8. Sustainability and indoor environment

Sustainability and VOC statements are manufacturer-published claims and are not independently verified in this draft.

# 9. Warranty, returns and support

No product-specific warranty term is asserted in this draft. Refer to the manufacturer's general terms.

# 10. Specification starting point

Insulation shall be supaBATT External Wall Barrier (external wall board) by Fletcher, selected to suit the confirmed application and required rating. Exact product, thickness and compliance to be confirmed by the project reviewer against the current manufacturer TDS before ordering.

# 11. Public document register

SRC-01 Manufacturer datasheet: https://insulation.com.au/product/supabatt/.

SRC-02 Safety data sheet: to be sourced.

# 12. Technical-review actions before publication

Confirm the exact product TDS deep link and re-validate all technical values.

Confirm SDS currency and handling guidance.

Approve environmental and warranty wording with the manufacturer.

Human review of NCC, fire, BAL and acoustic claims remains mandatory.

Draft generated 2026-09-05 from the internal knowledge base. Technical values and claims remain subject to manufacturer review before publication.