HVAC AND INDUSTRIAL

FI32 Semi-Rigid Insulation

Hvac and industrial insulation product

# 1. Product description

FI32 is semi-rigid glasswool supplied as boards or rolls for internal sheet-metal duct lining and other commercial/industrial thermal-acoustic uses such as tanks, process vessels, cabinets, plant rooms and acoustic baffles. Current facing choices include unfaced, Vapastop 883 foil, Sisalation heavy-duty/perforated foil and black matt tissue. Fletcher states up to 80% recycled glass, Australian manufacture and CodeMark CM30006 within scope.

## Key features

# 2. Applications and selection

duct liner

sheet metal duct

plant room

process vessel

acoustic baffle

## Selection checklist

Confirm the application matches the family.

Confirm the target rating and construction build-up.

Confirm available depth against product dimensions.

Check NCC, fire, BAL or acoustic requirements with a qualified reviewer.

Record the suburb/postcode for climate-zone checks.

# 3. Current catalogue range

| SKU | Product | Published rating |
| --- | --- | --- |
| FL-4003789 | FI32 SEMI RIGID 3000X1410X75 (3) Rigid Internal Lining - PK 32kg | R2.04, R1.9 |
| FL-4005381 | FI32 SEMI RIGID 2400X1500X38 (6) PK | R1.12, R0.9 |
| FL-4005563 | FI32 SEMI RIGID 10000X1500X50 ROL | R1.42, R1.3 |
| FL-4006968 | FI32 SEMI RIGID 2400X1200X25 (10) PK | R0.80, R0.6 |
| FL-4006969 | FI32 SEMI RIGID 2400X1500X25 (10) PK | R0.80, R0.6 |
| FL-4006972 | FI32 SEMI RIGID 2400X1200X50 (5) PK | R1.42, R1.3 |
| FL-4006976 | FI32 SEMI RIGID 2400X1200X100 (2) PK | R2.67, R2.5 |
| FL-4006985 | FI32 SEMI RIGID 2400X1500X25 HDP (10) PK | R0.80, R0.6 |
| FL-4008743 | FI32 SEMI RIGID 2400X1500X50 (5) PK | R1.42, R1.3 |
| FL-4021944 | FI32 SEMI RIGID 2400X1500X25 HDP (10) PK | R0.80, R0.6 |

# 4. Technical data

| Property | Value | Source |
| --- | --- | --- |
| Product type | HVAC and industrial | Manufacturer catalogue |
| Material | Glasswool | Manufacturer catalogue |
| Applications | duct liner; sheet metal duct; plant room; process vessel; acoustic baffle | Manufacturer catalogue |

# 5. Fire, testing and compliance context

Fire: not verified per SKU. No fire, NCC or BAL classification is asserted in this draft.

NCC / project compliance: conditional - project-specific evidence required. BAL: not verified.

# 6. Installation overview

Use the current manufacturer instructions and the project specification. Handling, fixing and jointing details must be confirmed against the TDS for the selected SKU.

# 7. Safety, handling and SDS status

SDS: to be sourced. Confirm the current SDS before handling or cutting.

# 8. Sustainability and indoor environment

Sustainability and VOC statements are manufacturer-published claims and are not independently verified in this draft.

# 9. Warranty, returns and support

No product-specific warranty term is asserted in this draft. Refer to the manufacturer's general terms.

# 10. Specification starting point

Insulation shall be FI32 Semi-Rigid Insulation (hvac and industrial) by Fletcher, selected to suit the confirmed application and required rating. Exact product, thickness and compliance to be confirmed by the project reviewer against the current manufacturer TDS before ordering.

# 11. Public document register

SRC-01 Manufacturer datasheet: https://insulation.com.au/product/fi32-semi-rigid-insulation/.

SRC-02 Safety data sheet: to be sourced.

# 12. Technical-review actions before publication

Confirm the exact product TDS deep link and re-validate all technical values.

Confirm SDS currency and handling guidance.

Approve environmental and warranty wording with the manufacturer.

Human review of NCC, fire, BAL and acoustic claims remains mandatory.

Draft generated 2026-09-05 from the internal knowledge base. Technical values and claims remain subject to manufacturer review before publication.