BULK

Pink Batts Ceiling Insulation

Bulk insulation product

# 1. Product description

Pink® Batts are made from lightweight, flexible, and resilient glasswool for thermal and acoustic insulation of residential ceilings. They are available in various sizes to fit standard timber and steel joist spacings.

## Key features

Low itch.

Easy to cut.

Friction fit standard joists.

Provides energy savings all year round.

Zero ODP insulation.

No harmful levels of VOCs released.

# 2. Applications and selection

ceiling

residential

## Selection checklist

Confirm the application matches the family.

Confirm the target rating and construction build-up.

Confirm available depth against product dimensions.

Check NCC, fire, BAL or acoustic requirements with a qualified reviewer.

Record the suburb/postcode for climate-zone checks.

# 3. Current catalogue range

| SKU | Product | Published rating |
| --- | --- | --- |
| FI PB 30430 | PinkBatt R3.0 1160*430*155 | R3.5, R3.0 |
| FI PB 30580 | PinkBatt R3.0 1160*580*155 | R3.17, R3.0 |
| FI PB 35430 | PinkBatt R3.5 1160*430*175 | R3.67, R3.5 |
| FI PB 35580 | PinkBatt R3.5 1160*580*175 | R3.67, R3.5 |
| FI PB 41430 | PinkBatt R4.1 1160*430*195 | R4.27, R4.1 |
| FI PB 41580 | PinkBatt R4.1 1160*580*195 | R4.27, R4.1 |
| FI PB 50430 | PinkBatt R5.0 1160*430*215 | R5.17, R5.0 |
| FI PB 50580 | PinkBatt R5.0 1160*580*215 | R5.17, R5.0 |
| FI PB 60430 | PinkBatt R6.0 1160*430*250 | R6.17, R6.0 |
| FI PB 60580 | PinkBatt R6.0 1160*580*250 | R6.17, R6.0 |
| FI PB 70430 | PinkBatt R7.0 1160*430*250 | R7.17, R7.0 |
| FI PB 70580 | PinkBatt R7.0 1160*580*250 | R7.17, R7.0 |
| FL-4006098 | PINK BATTS R2.5 1160X430X130 16PK | R3.42, R2.5 |
| FL-4006099 | PINK BATTS R2.5 1160X580X130 16PK | R3.42, R2.5 |
| FL-4020593 | PERIMETER BATT R3.1 1200X450X110 6PK | R2.92, R3.1 |

# 4. Technical data

| Property | Value | Standard |
| --- | --- | --- |
| R-value | 2.5 | m² K/W |
| R-value | 3.0 | m² K/W |
| R-value | 3.5 | m² K/W |
| R-value | 4.0 | m² K/W |
| R-value | 4.1 | m² K/W |
| R-value | 5.0 | m² K/W |
| R-value | 6.0 | m² K/W |
| R-value | 7.0 | m² K/W |
| Maximum Service Temperature | 350 °C | ASTM C411/C447 |
| Thermal Resistance | Complies | AS/NZS 4859.1:2002 |
| Moisture Absorption | <0.2% | % by volume |
| pH | 9 | ASTM C871 |

Extracted from manufacturer datasheet: https://insulation.com.au/wp-content/uploads/2019/11/TDS-Pink-Batts-Ceiling-v4.pdf

# 5. Fire, testing and compliance context

Combustibility AS1530.1:1994 Non combustible; AS/NZS 1530.3:1999: Ignitability Index 0, Spread of Flame Index 0, Heat Evolved Index 0, Smoke Developed Index 0–1; BAL Compliance AS3959:2018 Low – FZ

NCC / project compliance: conditional - project-specific evidence required. BAL: not verified.

# 6. Installation overview

Fit standard joists.

Use for new homes or retrofitting existing buildings.

# 7. Safety, handling and SDS status

SDS: to be sourced. Confirm the current SDS before handling or cutting.

# 8. Sustainability and indoor environment

Avoids the use of Ozone Depleting Potential (ODP) substances and ensures no harmful levels of Volatile Organic Compounds (VOCs) are released.

# 9. Warranty, returns and support

No product-specific warranty term is asserted in this draft. Refer to the manufacturer's general terms.

# 10. Specification starting point

Insulation shall be Pink Batts Ceiling Insulation (bulk) by Fletcher, selected to suit the confirmed application and required rating. Exact product, thickness and compliance to be confirmed by the project reviewer against the current manufacturer TDS before ordering.

# 11. Public document register

SRC-01 Manufacturer datasheet: https://insulation.com.au/product/pink-batts-ceiling-insulation/.

SRC-02 Safety data sheet: to be sourced.

# 12. Technical-review actions before publication

Confirm the exact product TDS deep link and re-validate all technical values.

Confirm SDS currency and handling guidance.

Approve environmental and warranty wording with the manufacturer.

Human review of NCC, fire, BAL and acoustic claims remains mandatory.

Draft generated 2026-09-05 from the internal knowledge base. Technical values and claims remain subject to manufacturer review before publication.