ROOF MEMBRANE

Sisalation Vapawrap Metal Roof

Roof membrane insulation product

# 1. Product description

This is Fletcher's vapour-permeable membrane family for suitable metal-roof assemblies. Its function is moisture/water management within a designed roof, not bulk thermal insulation and not Permastop glasswool blanket. Roof slope, support, drainage, ventilation, climate and condensation analysis determine suitability.

## Key features

# 2. Applications and selection

metal roof

roof sarking

vapour permeable roof

condensation management

## Selection checklist

Confirm the application matches the family.

Confirm the target rating and construction build-up.

Confirm available depth against product dimensions.

Check NCC, fire, BAL or acoustic requirements with a qualified reviewer.

Record the suburb/postcode for climate-zone checks.

# 3. Current catalogue range

| SKU | Product | Published rating |
| --- | --- | --- |
| FL-4006598 | VAPAWRAP PERMEABLE MROOF Permeable - Vapour MBRN 1.25X40M Permeable Non | Not stated |
| FL-4006885 | VAPAWRAP MROOF 1350MMX30M Water Barrier FLETCHER | R33.92, R33.8 |

# 4. Technical data

| Property | Value | Source |
| --- | --- | --- |
| Product type | Roof membrane | Manufacturer catalogue |
| Material | Reflective Membrane | Manufacturer catalogue |
| Applications | metal roof; roof sarking; vapour permeable roof; condensation management | Manufacturer catalogue |

# 5. Fire, testing and compliance context

Fire: not verified per SKU. No fire, NCC or BAL classification is asserted in this draft.

NCC / project compliance: conditional - project-specific evidence required. BAL: not verified.

# 6. Installation overview

Use the current manufacturer instructions and the project specification. Handling, fixing and jointing details must be confirmed against the TDS for the selected SKU.

# 7. Safety, handling and SDS status

SDS: to be sourced. Confirm the current SDS before handling or cutting.

# 8. Sustainability and indoor environment

Sustainability and VOC statements are manufacturer-published claims and are not independently verified in this draft.

# 9. Warranty, returns and support

No product-specific warranty term is asserted in this draft. Refer to the manufacturer's general terms.

# 10. Specification starting point

Insulation shall be Sisalation Vapawrap Metal Roof (roof membrane) by Fletcher, selected to suit the confirmed application and required rating. Exact product, thickness and compliance to be confirmed by the project reviewer against the current manufacturer TDS before ordering.

# 11. Public document register

SRC-01 Manufacturer datasheet: https://insulation.com.au/product/sisalation-vapawrap-metal-roof/.

SRC-02 Safety data sheet: to be sourced.

# 12. Technical-review actions before publication

Confirm the exact product TDS deep link and re-validate all technical values.

Confirm SDS currency and handling guidance.

Approve environmental and warranty wording with the manufacturer.

Human review of NCC, fire, BAL and acoustic claims remains mandatory.

Draft generated 2026-09-05 from the internal knowledge base. Technical values and claims remain subject to manufacturer review before publication.